- SECTION 27 41 16

- INTEGRATED AUDIO-VIDEO SYSTEMS AND EQUIPMENT

- GUIDE SPECIFICATION

- Specifier: The Specifier/Design Professional is responsible for the accuracy of all project specifications, including system application and coordination with related sections.  This guide specification is provided as a convenience and requires editing to match actual project requirements.  CRESTRON ELECTRONICS, INC. SHALL NOT BE LIABLE FOR ANY DAMAGES ARISING OUT OF THE USE OF ANY OF ITS GUIDE SPECIFICATIONS.  For Crestron design assistance and design review please contact Sales Support Services Department at   800.237.2041 or techsales@crestron.com.

- Specifier:  Please see PART 4 for a listing of products specified in this Guide Specification.

- Table of Contents

- 1    GENERAL	3

- 1.1    SUMMARY	3

- 1.1.1    Section Includes:	3

- 1.2    RELATED REQUIREMENTS	3

- 1.2.1    Section 27 15 00 - Communications Horizontal Cabling	3

- 1.2.2    Section 27 41 16 - Audio-Video Systems and Equipment	3

- 1.3    REFERENCES	3

- 1.3.1    Abbreviations and Acronyms	3

- 2    PRODUCTS	3

- 2.1    TABLETOP CONFERENCE SYSTEMS	3

- 2.1.1    Basis of Design Tabletop UCS for Large Rooms:	3

- 2.1.2    Basis of Design Tabletop UCS For Medium Rooms:	4

- 2.1.3    Collaboration Platform:	4

- 2.1.4    System Hardware Components:	4

- 2.1.5    System Software Components	5

- 2.1.6    External content source device integration	5

- 2.1.7    Video Presentation	5

- 2.1.8    Touch Screen User Interface	6

- 2.1.9    System Installation	6

- 2.1.10    Network Management	6

- 2.1.11    Network Security	6

- 3    EXECUTION	7

- 4    APPENDICES	7

- 4.1    SPECIFIED PRODUCTS	7

- 4.1.1    Crestron UC-M70-Z	7

- 4.1.2    Crestron UC-M50-Z	7

# GENERAL

## SUMMARY

### Section Includes:

#### Unified Communications and Collaboration Systems

## RELATED REQUIREMENTS

### Section 27 15 00 - Communications Horizontal Cabling

### Section 27 41 16 - Audio-Video Systems and Equipment

## REFERENCES

### Abbreviations and Acronyms

#### UC - Unified Communications

#### UCS - Unified Communication System

#### UCC - Unified Communications Computer

# PRODUCTS

## TABLETOP CONFERENCE SYSTEMS

### Basis of Design Tabletop UCS for Large Rooms:

#### Crestron UC-M70-Z

- Specifier Note:

- The UC-M70-Z system provides a complete video conference room solution for use with the Zoom Rooms software. It supports a single video display, and features the Crestron Flex tabletop conferencing device, UC Bracket Assembly with UC-ENGINE, AVer® CAM520 PRO enterprise-grade camera, one mic pod, cables, and power supply.

- For additional information see: https://www.crestron.com/Products/Workspace-Solutions/Unified-Communications/Crestron-Flex-Tabletop-Conferencing-Systems/UC-M70-Z

### Basis of Design Tabletop UCS For Medium Rooms:

#### Crestron UC-M50-Z

- Specifier Note:

- The UC-M50-Z system provides a complete video conference room solution for use with the Zoom Rooms software. It supports a single video display, and features the Crestron Flex tabletop conferencing device, UC Bracket Assembly with UC-ENGINE, Huddly IQ™ Collaboration Camera, cables, and power supply.

- For additional information see:

- https://www.crestron.com/Products/Workspace-Solutions/Unified-Communications/Crestron-Flex-Tabletop-Conferencing-Systems/UC-M50-Z

### Collaboration Platform:

#### The UCS shall natively support Zoom Rooms.

- Specifier Note:

- Native Zoom Rooms™ Software Experience

- The UC-M(50/70)-Z system features Zoom Rooms conferencing software that enables audio and video connectivity for easy collaboration and content sharing.

### System Hardware Components:

#### The Tabletop UCS shall be composed of the following discrete components:

##### Tabletop Console:

###### Functional System Components:

Microphone

Speaker

User interface

###### System Connections:

LAN port

Table microphone connections

##### Unified Communications Computer (UCC):

- Specifier Notes:

- Native Zoom Rooms™ Software Experience

- UC systems feature Zoom Rooms conferencing software for easy collaboration and content sharing.

###### The UCC shall include pre-installed collaboration software.

###### The UCC shall include connections for external source content, high definition USB camera and a one display device.

##### Table Microphone

- Specifier Note:

- CCS-UCA-MIC

- The add on extension microphone is included with the UC-M70-Z and is an optional accessory for the UC-M50-Z.

- For additional information see:

- https://www.crestron.com/Products/Audio/Microphones/Wired-Microphones/CCS-UCA-MIC-KIT

##### HD Camera

- Specifier Note:

- UC-M70-Z camera:

- UC-CAM-HD-520 - AVer® CAM520 PRO

- UC-M50-Z camera:

- CCS-CAM-USB-F-400 Huddly IQ

##### Cabling and Mounting Hardware

### System Software Components

#### Integrated Zoom Rooms

### External content source device integration

#### The UCS shall support connection of HDMI source devices for use as collaboration content.

### Video Presentation

#### The UCS shall include a USB HD camera for integration with web video conferencing software.

#### The UCS shall include an input connection for source content.

### Touch Screen User Interface

#### The Tabletop Conference System shall include an integrated touch screen user interface with the following capabilities:

##### Native Zoom Rooms Touch Screen User Interface

##### One-touch Zoom meeting joins

### System Installation

#### The connection the user interface device and the UC engine assembly shall require no more than a single category 5 type cable.

#### Unified collaboration engine shall be a component of an integrated mounting assembly designed for installation behind display devices.

### Network Management

#### The Tabletop Conference System shall support:

##### Cloud based management service by same manufacturer

##### Cloud-based provisioning enabling complete network configuration in advance of hardware installation, with touchless updates following installation.

### Network Security

#### The Tabletop Conference System shall support advanced security features including:

##### 802.1x authentication

##### Active Directory authentication

##### LDAP directory access

# EXECUTION

- NOT USED in this Guide Specification.  Specifier shall Specify PART 3 On-Site work as needed.

# APPENDICES

## SPECIFIED PRODUCTS

- Specifier Note: This Article includes Crestron products specified in this Guide Specification document.  This Article is for reference only and should not be required in actual project manual unless included in an overall system equipment list.

### Crestron UC-M70-Z

### Crestron UC-M50-Z